LAKE FOREST ESTATES CLEAN WATER DISTRICT

Board of Directors’ Meeting

August 13, 2026 at 6:30 pm

lfecwd.office@gmail.com

Next meeting:   September 10, 2026

Call to Order:	Chairman Mark Basler

Roll Call:  Mark Basler, Jim Donze, Don Kuehn, Eric Kelley, Bruce Giesler

Introduction of Ethan Jokerst, Lake Forest Estates' new property manager

Approval of Agenda:  Motion to approve by Bruce Giesler.  Seconded by Eric Kelley.  Motion passed with all in favor.

Approval of July minutes:  Motion to approve by Jim Donze.  Seconded by Don Kuehn.  Motion passed with all in favor.

Office Administrator:  Julie Orrick

- Copper and Lead testing is complete and filed with the EPA.  In response to a report mentioned by Don Torretti regarding lead levels compared to Bloomsdale, Mark Basler stated the board will look into this and provide information at the next meeting.

- Receivables stand at $1,195.25

- Requested USDA reports were submitted and accepted

- Well #1 pumped 1,177,438 gallons and well #2 pumped 999,300 gallons for a total of 2,176,738 gallons of water.

Treasurer’s Report:  Eric Kelley

- Financials were read.

- Motion to approve financials made by Don Kuehn.  Seconded by Jim Donze.  Motion passed with all in favor.

Communication Received:  Don Kuehn

- An email inquiry was received regarding potable water quality and recent buildup in a toilet bowl.  The office clarified that no changes have been made to the drinking water since the meter installation in 2023.  Mark Basler noted he experienced a similar issue, which was resolved by replacing his water softener.

Open Forum:  No questions

Old Business:  Mark Basler

- Two additional manholes were sleeved today.  Eight manholes remain to complete the project.

New Business:   Mark Basler

- Review of project phases since November 2019

- Phase 1:  Water Meters installed using ARPA funds.

- Phase 2:  Emergency sewer line project in Lake Anne. The total replacement included lowering the lake to replace all the infrastructure, including under the dam.

- Phase 3:  Treatment plant upgrade and relocation of the outfall.

- Phase 4:  New wastewater lines in Lakes Marion and Susan

Phases 3 and 4 will be bid separately but may run concurrently.  The construction permit has been approved, and bid notices went out the week of August 10, 2026.

-A mandatory bid meeting is scheduled for September 3rd, 2026 at 10:00 am.

-The public bid opening will take place on September 10th, 2026 at 10:00 am.

Q:  Is the lake work done?

A:  Yes, apart from the remaining eight manholes.  Residents and realtors are encouraged to contact the office or review minutes online to ensure accurate information.

Q:  Is the work in the two smaller lakes going to be done like the work in Lake Anne?

A:  Yes, this will require a total replacement of the pipes.

-The CWD monthly Board of Directors’ meeting will be held on the second Thursday of every month at 6:30 pm unless otherwise posted.  This schedule aims to accommodate residents attending our multiple meetings.

Motion to Adjourn:  Motion to adjourn made at 6:55 pm by Don Kuehn.  Seconded by Jim Donze.  Motion passed with all in favor.

Please note that the Board of Trustees may adjourn to close sessions pursuant to the Revised Statutes of the State of Missouri to discuss legal, confidential, or privileged attorney-client matters pursuant to Section 310.021 (1), real estate matters pursuant to Section 610.021 (17), or for any other reason allowed by Missouri Law