Lake Forest Estates Clean Water District

Board of Director’s Meeting

September 10, 2026 at 6:30 pm

lfecwd.office@gmail.com

573-483-9833

Call to Order:  Chairman Mark Basler

Roll Call:  Mark Basler, Jim Donze, Don Kuehn, and Bruce Giesler present.  Eric Kelley absent with an excuse.

Approval of Agenda:  Motion made by Bruce Giesler.  Seconded by Don Kuehn.  Motion passed with all in favor.

Approval of August Minutes:  Motion made by Jim Donze.  Seconded by Don Kuehn.  Motion passed with all in favor.

Office Administrator:  Julie Orrick

Well #1 pumped 1,015,284 gallons of water

Well #2 pumped 1,000,900

For a total of 2,016,184 gallons

Every three years, we conduct lead and copper testing for the Missouri Department of Natural Resources (MDNR). This testing, performed at 10 sites within Lake Forest Estates, was completed at the end of July, and individual results have been mailed to the participating locations.

For those who wish to see the results of our annual water quality report, please go to:

www.dnr.mo.gov/ccr/MO4036146.pdf  

According to MDNR representative Austen Dudenhoffer, residents of all water districts are advised to run their water for at least 10 seconds before use as a safety precaution. Current laws allow end-use brass fixtures, such as faucets, to be labeled as "lead-free" even if they contain up to 8% lead.

Treasurer’s Report:  Julie Orrick

- Financial reports were read.

- Motion made by Jim Donze to approve the financials.  Seconded by Bruce Giesler.  Motion passed with all in favor.

Communication Received:  Don Kuehn

We received an email regarding a brick sidewalk that was not restored to its original condition during the manhole sleeving. I contacted the contractors, and they apologized for the delay and assured us they will address the issue soon.

Additionally, Don reported that the contractor completing the emergency Lake Anne project will finalize a punch list before closing out the project.

Open Forum:  Don Kuehn

Q:  Does the fish go into Lake Anne when lowering Lakes Marion and Susan?

A:  No

Old Business:  Mark Basler

Emergency Lake Anne Sewer Project: We have two manholes left to sleeve before this project is officially closed out.

New Business:  Mark Basler

Pre-Bid Meeting: Our mandatory pre-bid meeting took place on September 8th and was well attended by nine contracting companies. Our engineer noted that thirteen bid packets have been emailed out.

Bid Opening Date: The bid opening date has been moved to September 17th to allow contractors extra time to receive pricing from their suppliers.

Adjournment: A motion to adjourn at 6:53 pm was made by Jim Donze.  Seconded by Bruce Giesler.  Motion passed with all in favor.

Please note that the Board of Trustees may adjourn to close sessions pursuant to the Revised Statutes of the State of Missouri to discuss legal, confidential, or privileged attorney-client matters pursuant to Section 310.021 (1), real estate matters pursuant to Section 610.021 (17), or for any other reason allowed by Missouri Law.